## Slide 1: Omapere Opononi Water Liaison Group submission 51 In response to : FNDC application number APP.002667.01.04 for the renewal of the consent for the Opononi Wastewater Treatment Plant NRC, Rawene Hall, 15-19 May 2023
Graham Tucker, graham@omatel.com

## Slide 2: Scope
Focus is on Opononi WWTP and not specifically Kohukohu
Whole of harbour scientific considerations
Evidence is based on involvement with Opononi Omapere Water Liaison Group
Cultural issues are covered by other submissions
Reference: submission 51

## Slide 3: Opononi Omapere Water Liaison Group (OOWLG)
A requirement of the environmental court ruling in 2009
Community group made up of volunteers representing the area & hapu
Monthly plant performance metrics disclosed
Key issues like future developments, maintenance and failures of subsystems discussed
Founding member John Klaricich has been involved throughout term
Engagement was mostly productive with Monthly meetings
Why was this allowed to be shutdown in December 2019?
Next term should reinstate this group and involvement strengthened

## Slide 4: Performance and environmental study
FNDC performance has been poor
  Opononi plant under abatement notice since 2016
  e.coli, nitrogen, BOD & TSS have been exceeding the limits over the consent period
  Maintenance of wetlands and desludging not frequent enough
  Maintenance happened around the time of resource consent application
  Next consent term should be no longer than three years until FNDC can prove themselves
Comprehensive environmental study of the Hokianga Harbour is necessary
  A whole of harbour study is necessary to determine an effective solution & prioritize resources
  DNA source tracking of e. coli needs to be expanded
  Limited testing done indicates agriculture is a larger problem than WWTP’s

## Slide 5: Affordability & Interested Parties
Affordability
  FNDC is considering moving from a target rate to a district wide rate
  Multi-generational are leaving the area. How do we sustain a community
  Bed tax is a necessity, eg Air B&B works with +500 governance bodies globally
Central Government Policy
  Need to wait for election in October before any strategic decisions are made
  Major parties have very different funding models and standards are not finalized
  Who contributes: rate payer in area, ratepayer in district or tax payer
Interested parties
  Environmental concerns should be relevant to all but who pays?

## Slide 6: CLG and Future developments
Land Based Disposal
  Not suitable for all areas
  Requires moderate gradient and absorbent soils
  Land Based disposal maybe suitable for Kaikohe
Other future enhancements & considerations
  Modern wetland design
  UV treatment on outflow
  Minimizing stormwater infiltration
  Climate change – no provisions for Opononi plant near sea level
  Properties & incentives to encourage to have their own water supply and waste water processing
  Electrocoagulation a possibility – needs to productized

## Slide 7: Call to Action
Pause until after the election in October 2023
Affordability: consider affected & interested parties
More environmental studies are necessary to optimize outcomes
Next consent term no longer than three years based on performance
Community Liaison Group should be reinstated as part of the renewal
  Powers enhanced
Maintenance processes need to be revised

## Slide 8: Backup

## Slide 9: Overview & Facts
Omapere & Opononi
  ~420 permanent residents
  1300+ people in summer
  ~460 households paying capital costs of wastewater infrastructure
    Sewage operating & capital availability rate = $847.54/property/year
  ~380 households paying capital costs of water supply infrastructure
    Water capital availability = $667.81/property/year (not including usage)
  Average rates in the area are ~$3500/annum
  Median income 15 years & older is ~$16000
  Multi-generational families driven out of the area
    Properties transition into Air B&B’s